## measurements
Parcel 33 |  | Reference Area (m2) |  | 13651.44 | Ref Perimeter (m) |  |  | 505.79
Receiver - ID |  | Serial Number |  | Antenna | Software/Firmware |  | Measurement method | Differential correction | DOP | Measurement interval | Elevation mask | Other settings
ProXR-2404 | Trimble Pro XR - standalone | 0220223676 |  | External | Asset Surveyor v.5+ Pathfinder Office 4.0 |  | continuous | standalone/ postprocessing | 6 | 2s | 10º | n/a
ProXR-3401 | Trimble Pro XR with code postprocesing | 0224010279 |  | External | Asset Surveyor v.4.03 + Pathfinder Office 4.0 |  | continuous | standalone/ postprocessing | 6 | 2s | 10º | n/a
ProXR-4701 | HOLUX GPS LIM 236 + Cartosat | 0220135399 |  | External | Asset Surveyor v.3.4 + Pathfinder Office 4.0 |  | continuous | standalone/ postprocessing | 6 | 2s | 10º | n/a
Mediciones: 1 operador (C=Modesto), 5 parcelas, 8 conjuntos (sets) por parcela, 4 repeticiones por conjunto
Receiver + ID | Mode | Date | Time | Operator | Set | Repet | Direction | Area | Perimeter | Area_ref | Perim_ref | Rejected
ProXR-2404 | stand | 2011-04-12 | 03:28:24pm | r | 1 | 1 | CW | 13434.35 | 499.55 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-12 | 04:01:10pm | r | 1 | 2 | ACW | 13399.32 | 499.48 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-12 | 04:12:00pm | r | 1 | 3 | CW | 13435.4 | 511.66 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-12 | 04:23:58pm | r | 1 | 4 | ACW | 13423.14 | 501.27 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-13 | 07:38:02am | r | 2 | 1 | CW | 13183.01 | 509.03 | 13651.44 | 505.79 | Cochran
ProXR-2404 | stand | 2011-04-13 | 07:47:43am | r | 2 | 2 | ACW | 13393.63 | 501.24 | 13651.44 | 505.79 | Cochran
ProXR-2404 | stand | 2011-04-13 | 07:55:02am | r | 2 | 3 | CW | 13491.38 | 501.82 | 13651.44 | 505.79 | Cochran
ProXR-2404 | stand | 2011-04-13 | 08:02:36am | r | 2 | 4 | ACW | 13373.58 | 501.51 | 13651.44 | 505.79 | Cochran
ProXR-2404 | stand | 2011-04-13 | 10:48:34am | r | 3 | 1 | CW | 13440.54 | 506.33 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-13 | 10:55:54am | r | 3 | 2 | ACW | 13443.44 | 502.03 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-13 | 11:03:44am | r | 3 | 3 | CW | 13443.49 | 502.77 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-13 | 11:11:09am | r | 3 | 4 | ACW | 13392.64 | 500.39 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 07:40:30am | j | 4 | 1 | CW | 13683.33 | 507.8 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 07:47:27am | j | 4 | 2 | ACW | 13629.04 | 507.11 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 07:55:57am | j | 4 | 3 | CW | 13680.88 | 505.34 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 08:02:46am | j | 4 | 4 | ACW | 13678.82 | 506.18 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 10:16:18am | j | 5 | 1 | CW | 13660.21 | 505.87 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 10:23:21am | j | 5 | 2 | ACW | 13624.06 | 507.75 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 10:30:18am | j | 5 | 3 | CW | 13769.99 | 508.96 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-15 | 10:37:15am | j | 5 | 4 | ACW | 13729.66 | 506.75 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 08:23:51am | j | 6 | 1 | CW | 13673.44 | 507.3 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 08:30:33am | j | 6 | 2 | ACW | 13634.69 | 505.58 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 08:38:01am | j | 6 | 3 | CW | 13685.15 | 508.07 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 08:45:39am | j | 6 | 4 | ACW | 13733.74 | 507.64 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 11:24:09am | m | 7 | 1 | CW | 13626.06 | 504.6 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 11:32:57am | m | 7 | 2 | ACW | 13457.6 | 502.88 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 11:40:34am | m | 7 | 3 | CW | 13620.52 | 505.14 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-18 | 11:47:10am | m | 7 | 4 | ACW | 13539.22 | 502.48 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 09:08:22am | m | 8 | 1 | CW | 13605.98 | 504.63 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 09:15:42am | m | 8 | 2 | ACW | 13613.65 | 504.91 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 09:22:30am | m | 8 | 3 | CW | 13611.06 | 504.38 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 09:29:35am | m | 8 | 4 | ACW | 13609.02 | 504.27 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 12:07:56pm | m | 9 | 1 | CW | 13602.31 | 504.22 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 12:14:57pm | m | 9 | 2 | ACW | 13510.53 | 502.71 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 12:22:44pm | m | 9 | 3 | CW | 13648.16 | 506.91 | 13651.44 | 505.79
ProXR-2404 | stand | 2011-04-19 | 12:29:40pm | m | 9 | 4 | ACW | 13542.23 | 506.16 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-12 | 03:28:24pm | r | 1 | 1 | CW | 13499.08 | 504.64 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-12 | 04:01:10pm | r | 1 | 2 | ACW | 13578.26 | 503.66 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-12 | 04:12:00pm | r | 1 | 3 | CW | 13368.55 | 509.98 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-12 | 04:23:58pm | r | 1 | 4 | ACW | 13383.84 | 502.65 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 07:38:02am | r | 2 | 1 | CW | 13299.32 | 507.55 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 07:47:43am | r | 2 | 2 | ACW | 13351.67 | 500.31 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 07:55:02am | r | 2 | 3 | CW | 13502.45 | 502.39 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 08:02:36am | r | 2 | 4 | ACW | 13361.58 | 501.52 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 10:48:34am | r | 3 | 1 | CW | 13463.37 | 502.07 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 10:55:54am | r | 3 | 2 | ACW | 13369.45 | 500.72 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 11:03:44am | r | 3 | 3 | CW | 13501.29 | 502.81 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-13 | 11:11:09am | r | 3 | 4 | ACW | 13378.16 | 499.83 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 07:40:30am | j | 4 | 1 | CW | 13659.41 | 506.07 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 07:47:27am | j | 4 | 2 | ACW | 13616.89 | 506.44 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 07:55:57am | j | 4 | 3 | CW | 13669.18 | 505.12 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 08:02:46am | j | 4 | 4 | ACW | 13637.56 | 506.1 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 10:16:18am | j | 5 | 1 | CW | 13696.56 | 506.44 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 10:23:21am | j | 5 | 2 | ACW | 13652.82 | 507.61 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 10:30:18am | j | 5 | 3 | CW | 13711.48 | 508.56 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-15 | 10:37:15am | j | 5 | 4 | ACW | 13759.14 | 508.11 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 08:23:51am | j | 6 | 1 | CW | 13704.59 | 506.79 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 08:30:33am | j | 6 | 2 | ACW | 13619.62 | 505.87 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 08:38:01am | j | 6 | 3 | CW | 13753.57 | 508.73 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 08:45:39am | j | 6 | 4 | ACW | 13718.98 | 507.54 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 11:24:09am | m | 7 | 1 | CW | 13597.59 | 504.55 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 11:32:57am | m | 7 | 2 | ACW | 13459.69 | 503.12 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 11:40:34am | m | 7 | 3 | CW | 13597.4 | 504.2 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-18 | 11:47:10am | m | 7 | 4 | ACW | 13517.2 | 502.08 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 09:08:22am | m | 8 | 1 | CW | 13635.61 | 505.3 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 09:15:42am | m | 8 | 2 | ACW | 13639.66 | 506.13 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 09:22:30am | m | 8 | 3 | CW | 13612.33 | 504.46 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 09:29:35am | m | 8 | 4 | ACW | 13582.91 | 503.63 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 12:07:56pm | m | 9 | 1 | CW | 13661.61 | 508.44 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 12:14:57pm | m | 9 | 2 | ACW | 13493.68 | 501.91 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 12:22:44pm | m | 9 | 3 | CW | 13643.62 | 507.06 | 13651.44 | 505.79
ProXR-2404 | postpro | 2011-04-19 | 12:29:40pm | m | 9 | 4 | ACW | 13447.04 | 505.66 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-12 | 03:28:23pm | j | 1 | 1 | CW | 13744.68 | 507.83 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-12 | 04:00:43pm | j | 1 | 2 | ACW | 13494.46 | 508.15 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-12 | 04:11:01pm | j | 1 | 3 | CW | 13826.33 | 510.09 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-12 | 04:21:37pm | j | 1 | 4 | ACW | 13513.44 | 506.77 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 07:39:01am | j | 2 | 1 | CW | 13785.25 | 509.31 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 07:47:41am | j | 2 | 2 | ACW | 13512.39 | 509.26 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 07:54:48am | j | 2 | 3 | CW | 13757.21 | 507.38 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 08:02:05am | j | 2 | 4 | ACW | 13526.03 | 506.78 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 10:48:52am | j | 3 | 1 | CW | 13754.96 | 508.65 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 10:55:55am | j | 3 | 2 | ACW | 13550.63 | 507.41 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 11:03:29am | j | 3 | 3 | CW | 13767.47 | 507.97 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-13 | 11:11:12am | j | 3 | 4 | ACW | 13556.65 | 505.89 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 07:40:25am | m | 4 | 1 | CW | 13803.15 | 507.83 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 07:48:06am | m | 4 | 2 | ACW | 13528.56 | 515.59 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 07:55:50am | m | 4 | 3 | CW | 13811.04 | 507.59 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 08:02:41am | m | 4 | 4 | ACW | 13536.02 | 505.43 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 10:15:00am | m | 5 | 1 | CW | 13806.21 | 507.82 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 10:23:15am | m | 5 | 2 | ACW | 13463.1 | 504.92 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 10:30:21am | m | 5 | 3 | CW | 13833.7 | 507.92 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-15 | 10:37:29am | m | 5 | 4 | ACW | 13514.2 | 505.47 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 08:22:47am | m | 6 | 1 | CW | 13793.23 | 508.28 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 08:31:04am | m | 6 | 2 | ACW | 13507.63 | 505.26 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 08:38:03am | m | 6 | 3 | CW | 13777.45 | 506.87 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 08:45:23am | m | 6 | 4 | ACW | 13517.63 | 504.64 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 11:24:48am | r | 7 | 1 | CW | 13836.78 | 508.06 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 11:32:47am | r | 7 | 2 | ACW | 13533.32 | 506 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 11:40:06am | r | 7 | 3 | CW | 13826.57 | 507.98 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-18 | 11:47:27am | r | 7 | 4 | ACW | 13524.58 | 504.69 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 09:07:39am | r | 8 | 1 | CW | 13757.32 | 506.68 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 09:15:11am | r | 8 | 2 | ACW | 13528.03 | 505.77 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 09:22:43am | r | 8 | 3 | CW | 13804.66 | 507.91 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 09:29:29am | r | 8 | 4 | ACW | 13523.45 | 505.8 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 12:07:44pm | r | 9 | 1 | CW | 13809.98 | 507.77 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 12:14:31pm | r | 9 | 2 | ACW | 13530.89 | 505.42 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 12:23:13pm | r | 9 | 3 | CW | 13811.97 | 509.14 | 13651.44 | 505.79
ProXR-3401 | stand | 2011-04-19 | 12:29:41pm | r | 9 | 4 | ACW | 13543.16 | 505.22 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-12 | 03:28:23pm | j | 1 | 1 | CW | 13781.56 | 510.58 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-12 | 04:00:43pm | j | 1 | 2 | ACW | 13651.17 | 508.78 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-12 | 04:11:01pm | j | 1 | 3 | CW | 13739.15 | 511.15 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-12 | 04:21:37pm | j | 1 | 4 | ACW | 13521.13 | 508.01 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 07:39:01am | j | 2 | 1 | CW | 13796.54 | 508.87 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 07:47:41am | j | 2 | 2 | ACW | 13485.68 | 506.66 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 07:54:48am | j | 2 | 3 | CW | 13773.19 | 507.8 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 08:02:05am | j | 2 | 4 | ACW | 13513.79 | 506.51 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 10:48:52am | j | 3 | 1 | CW | 13767.51 | 507.38 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 10:55:55am | j | 3 | 2 | ACW | 13474.23 | 506.54 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 11:03:29am | j | 3 | 3 | CW | 13812.81 | 508 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-13 | 11:11:12am | j | 3 | 4 | ACW | 13543.46 | 505.37 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 07:40:25am | m | 4 | 1 | CW | 13778.98 | 506.6 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 07:48:06am | m | 4 | 2 | ACW | 13523.77 | 515.32 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 07:55:50am | m | 4 | 3 | CW | 13796.22 | 507.38 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 08:02:41am | m | 4 | 4 | ACW | 13495.49 | 505.3 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 10:15:00am | m | 5 | 1 | CW | 13848.69 | 507.91 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 10:23:15am | m | 5 | 2 | ACW | 13485.71 | 504.91 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 10:30:21am | m | 5 | 3 | CW | 13779.91 | 507.14 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-15 | 10:37:29am | m | 5 | 4 | ACW | 13537.48 | 505.9 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 08:22:47am | m | 6 | 1 | CW | 13814.53 | 505.97 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 08:31:04am | m | 6 | 2 | ACW | 13498.2 | 505.33 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 08:38:03am | m | 6 | 3 | CW | 13827.22 | 507.57 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 08:45:23am | m | 6 | 4 | ACW | 13506.73 | 504.82 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 11:24:48am | r | 7 | 1 | CW | 13814.59 | 507.68 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 11:32:47am | r | 7 | 2 | ACW | 13563.06 | 505.8 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 11:40:06am | r | 7 | 3 | CW | 13798.39 | 507.28 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-18 | 11:47:27am | r | 7 | 4 | ACW | 13501.85 | 504.14 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 09:07:39am | r | 8 | 1 | CW | 13782 | 506.56 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 09:15:11am | r | 8 | 2 | ACW | 13567.69 | 506.13 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 09:22:43am | r | 8 | 3 | CW | 13806.4 | 508.06 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 09:29:29am | r | 8 | 4 | ACW | 13492.73 | 505.08 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 12:07:44pm | r | 9 | 1 | CW | 13864.41 | 508.05 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 12:14:31pm | r | 9 | 2 | ACW | 13512.38 | 504.79 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 12:23:13pm | r | 9 | 3 | CW | 13754.48 | 506.2 | 13651.44 | 505.79
ProXR-3401 | postpro | 2011-04-19 | 12:29:41pm | r | 9 | 4 | ACW | 13485.36 | 503.93 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-12 | 03:38:04pm | m | 1 | 1 | CW | 13677.94 | 506.07 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-12 | 04:04:05pm | m | 1 | 2 | ACW | 13546.66 | 505.15 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-12 | 04:10:54pm | m | 1 | 3 | CW | 13806.53 | 508.62 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-12 | 04:21:24pm | m | 1 | 4 | ACW | 13556.52 | 505.05 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 07:39:49am | m | 2 | 1 | CW | 13728.36 | 507.61 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 07:46:54am | m | 2 | 2 | ACW | 13556.89 | 506.08 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 07:54:38am | m | 2 | 3 | CW | 13717.48 | 505.98 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 08:01:52am | m | 2 | 4 | ACW | 13591.64 | 505.67 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 10:48:19am | m | 3 | 1 | CW | 13705.21 | 506.67 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 10:56:38am | m | 3 | 2 | ACW | 13612.1 | 505.49 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 11:03:25am | m | 3 | 3 | CW | 13718.12 | 507.17 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-13 | 11:11:12am | m | 3 | 4 | ACW | 13622.73 | 505.91 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 07:39:14am | r | 4 | 1 | CW | 13695.33 | 507.7 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 07:47:22am | r | 4 | 2 | ACW | 13618.77 | 506.62 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 07:55:50am | r | 4 | 3 | CW | 13744.76 | 508.2 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 08:02:42am | r | 4 | 4 | ACW | 13621.55 | 506.33 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 10:14:24am | r | 5 | 1 | CW | 13697.87 | 507.49 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 10:23:24am | r | 5 | 2 | ACW | 13520.37 | 505.21 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 10:30:18am | r | 5 | 3 | CW | 13717.46 | 506.99 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-15 | 10:37:24am | r | 5 | 4 | ACW | 13593.71 | 506.42 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 08:21:36am | r | 6 | 1 | CW | 13707.92 | 507.29 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 08:30:58am | r | 6 | 2 | ACW | 13602.68 | 506.46 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 08:38:01am | r | 6 | 3 | CW | 13721.91 | 506.07 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 08:45:30am | r | 6 | 4 | ACW | 13602.27 | 504.81 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 11:23:34am | j | 7 | 1 | CW | 13751.2 | 506.88 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 11:32:55am | j | 7 | 2 | ACW | 13620.05 | 507.77 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 11:40:14am | j | 7 | 3 | CW | 13725.85 | 507.86 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-18 | 11:50:11am | j | 7 | 4 | ACW | 13635.06 | 506.98 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 09:07:57am | j | 8 | 1 | CW | 13657.61 | 506.24 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 09:15:22am | j | 8 | 2 | ACW | 13675.78 | 507.51 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 09:22:37am | j | 8 | 3 | CW | 13664.97 | 507.05 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 09:29:31am | j | 8 | 4 | ACW | 13628.1 | 506.33 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 12:07:10pm | j | 9 | 1 | CW | 13700.48 | 506.61 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 12:14:33pm | j | 9 | 2 | ACW | 13621.99 | 506.36 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 12:21:43pm | j | 9 | 3 | CW | 13780.95 | 509.58 | 13651.44 | 505.79
ProXR-4701 | stand | 2011-04-19 | 12:29:47pm | j | 9 | 4 | ACW | 13621.73 | 507.21 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-12 | 03:38:04pm | m | 1 | 1 | CW | 13714 | 509.82 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-12 | 04:04:05pm | m | 1 | 2 | ACW | 13701.92 | 506.58 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-12 | 04:10:54pm | m | 1 | 3 | CW | 13723.61 | 509.29 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-12 | 04:21:24pm | m | 1 | 4 | ACW | 13567.26 | 505.82 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 07:39:49am | m | 2 | 1 | CW | 13742.99 | 507.56 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 07:46:54am | m | 2 | 2 | ACW | 13539.28 | 505.14 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 07:54:38am | m | 2 | 3 | CW | 13732.31 | 506.67 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 08:01:52am | m | 2 | 4 | ACW | 13579.35 | 505.71 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 10:48:19am | m | 3 | 1 | CW | 13708.85 | 505.39 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 10:56:38am | m | 3 | 2 | ACW | 13544.27 | 504.55 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 11:03:25am | m | 3 | 3 | CW | 13745.95 | 506.68 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-13 | 11:11:12am | m | 3 | 4 | ACW | 13609.64 | 505.44 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 07:39:14am | r | 4 | 1 | CW | 13670.13 | 505.97 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 07:47:22am | r | 4 | 2 | ACW | 13612.72 | 505.96 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 07:55:50am | r | 4 | 3 | CW | 13729.38 | 508.03 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 08:02:42am | r | 4 | 4 | ACW | 13580.74 | 506.57 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 10:14:24am | r | 5 | 1 | CW | 13739.83 | 508.49 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 10:23:24am | r | 5 | 2 | ACW | 13561.9 | 505.35 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 10:30:18am | r | 5 | 3 | CW | 13664.11 | 506.55 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-15 | 10:37:24am | r | 5 | 4 | ACW | 13620.45 | 506.62 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 08:21:36am | r | 6 | 1 | CW | 13735.91 | 505.62 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 08:30:58am | r | 6 | 2 | ACW | 13580.51 | 506.97 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 08:38:01am | r | 6 | 3 | CW | 13773.29 | 506.73 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 08:45:30am | r | 6 | 4 | ACW | 13589.24 | 504.98 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 11:23:34am | j | 7 | 1 | CW | 13714.94 | 506.86 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 11:32:55am | j | 7 | 2 | ACW | 13662.1 | 508 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 11:40:14am | j | 7 | 3 | CW | 13695.69 | 507.36 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-18 | 11:50:11am | j | 7 | 4 | ACW | 13613.98 | 506.5 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 09:07:57am | j | 8 | 1 | CW | 13678.3 | 505.95 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 09:15:22am | j | 8 | 2 | ACW | 13682.6 | 508.32 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 09:22:37am | j | 8 | 3 | CW | 13664.88 | 507.24 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 09:29:31am | j | 8 | 4 | ACW | 13598.24 | 505.47 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 12:07:10pm | j | 9 | 1 | CW | 13754.91 | 506.87 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 12:14:33pm | j | 9 | 2 | ACW | 13604.69 | 505.95 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 12:21:43pm | j | 9 | 3 | CW | 13750.41 | 518.41 | 13651.44 | 505.79
ProXR-4701 | postpro | 2011-04-19 | 12:29:47pm | j | 9 | 4 | ACW | 13528.51 | 509.57 | 13651.44 | 505.79

## statistics
|  |  | Tests for outliers |  | ProXR-2404-stand |  | 4 repetitions per set
| Cochran's test p=9, n=4 |  |  |  |  | Grubbs' test_single observations |  |  | Grubbs' test on set means |  |  | Grubbs' test for 2 outlying means
Set Conjunto | S^2 | C | critical outlier | critical struggler | ? | Repet | Area | G | Set | mean | G | Set | mean | (Xi-(Xp-1,p)) ^2 | Xi-(X1,2) | Xi-(X1,p)
1 | 281.1112 |  |  |  |  | 1 | 13183.01 | 1.3754 | 1 | 13423.0525 | -1.4749 | 1 | 13423.0525 | 14777.1375 |  | 24845.5421
2 | 16633.6393 |  |  |  | outlier | 2 | 13393.63 | 0.25765 |  |  |  | 3 | 13430.0275 | 13130.0087 |  | 22695.3283
3 | 623.1573 |  |  |  |  | 3 | 13491.38 | 1.0156 | 3 | 13430.0275 | -1.4096 | 7 | 13560.85 | 263.6158 | 5070.33 | 393.1174
4 | 678.6187 |  |  |  |  | 4 | 13373.58 | 0.10219 | 4 | 13668.0175 | 0.81723 | 9 | 13575.8075 | 973.05 | 3163.9219 | 23.7139
5 | 4354.6006 |  |  |  |  | mean | 13360.4 |  | 5 | 13695.98 | 1.0789 | 8 | 13609.9275 | 4265.8859 | 489.6816 | 855.5808
6 | 1666.0732 |  |  |  |  | Std.dev | 128.9715 |  | 6 | 13681.755 | 0.94577 | 4 | 13668.0175 | 15228.4855 | 1293.2115 | 7628.3302
7 | 6313.7575 |  |  |  |  | Gmax | 1.3754 | OK | 7 | 13560.85 | -0.18552 | 6 | 13681.755 |  | 2469.9658 | 10216.7242
8 | 10.5153 | [7 empty] | 8 | 13609.9275 | 0.27369 | 5 | 13695.98 |  | 4086.2458 | 13294.7386
9 | 3775.2891 | 0.48443 | 0.481 | 0.403 |  | CV5%-CV1% |  | 1.481-1.496 | 9 | 13575.8075 | -0.045565
[9 empty] | mean | 13580.6772 |  | Xp-1,p | 13544.6138 | G_high | 0.60833
[9 empty] | Std.dev | 106.8731 |  | X1,2 | 13632.0562 | G_low | 0.20729
[9 empty] | Gmax | 1.0789 | OK
[9 empty] | Gmin | 1.4096 | OK
[9 empty] | CV5% - CV1% |  | 2.215 - 2.387 | CV1% - CV5% |  | 0.085 - 0.149 | OK
|  |  | Tests for outliers |  | ProXR-3401-stand |  | 4 repetitions per set
| Cochran's test p=8, n=4 |  |  |  |  | Grubbs' test_single observations |  |  | Grubbs' test on set means |  |  | Grubbs' test for 2 outlying means
Set Conjunto | S^2 | C | critical outlier | critical struggler | ? | Repet | Area | G | Set | mean | G | Set | mean | (Xi-(Xp-1,p)) ^2 | Xi-(X1,2) | Xi-(X1,p)
1 | 27595.5665 | [7 empty] | 1 | 13644.7275 | -1.0762 | 1 | 13644.7275 | 75.0142 |  | 194.4011
2 | 21333.4087 | [7 empty] | 2 | 13645.22 | -1.0382 | 2 | 13645.22 | 66.7256 |  | 180.91
3 | 14394.5836 | [7 empty] | 3 | 13657.4275 | -0.095927 | 6 | 13648.985 | 19.3914 | 184.9211 | 93.8046
4 | 25192.2466 | [7 empty] | 4 | 13669.6925 | 0.85078 | 8 | 13653.365 | 0.00055561 | 84.9821 | 28.146
5 | 37148.8194 | [7 empty] | 5 | 13654.3025 | -0.33714 | 5 | 13654.3025 | 0.83527 | 68.5761 | 19.0775
6 | 24848.4161 | [7 empty] | 6 | 13648.985 | -0.74758 | 3 | 13657.4275 | 16.3129 | 26.5851 | 1.5445
7 | 30577.5805 | [7 empty] | 7 | 13680.3125 | 1.6705 | 4 | 13669.6925 | 265.8181 | 50.5369 | 121.4894
8 | 22094.5295 | [7 empty] | 8 | 13653.365 | -0.4095 | 9 | 13674 |  | 130.3348 | 235.0004
9 | 25041.953 | 0.16277 | 0.481 | 0.403 | OK |  |  |  | 9 | 13674 | 1.1833 | 7 | 13680.3125 |  | 314.3149 | 468.3858
[9 empty] | mean | 13658.6703 |  | Xp-1,p | 13653.3886 | G_high | 0.33074
[9 empty] | Std.dev | 12.9555 |  | X1,2 | 13662.5836 | G_low | 0.64066
[9 empty] | Gmax | 1.6705 | OK
[9 empty] | Gmin | 1.0762 | OK
[9 empty] | CV5% - CV1% |  | 2.215 - 2.387 | CV1% - CV5% |  | 0.085 - 0.149 | OK
|  |  | Tests for outliers |  | ProXR-4701-stand |  | 4 repetitions per set
| Cochran's test p=8, n=4 |  |  |  |  | Grubbs' test_single observations |  |  | Grubbs' test on set means |  |  | Grubbs' test for 2 outlying means
Set Conjunto | S^2 | C | critical outlier | critical struggler | ? | Repet | Area | G | Set | mean | G | Set | mean | (Xi-(Xp-1,p)) ^2 | Xi-(X1,2) | Xi-(X1,p)
1 | 14887.2733 | [7 empty] | 1 | 13646.9125 | -0.80626 | 5 | 13632.3525 | 467.4398 |  | 777.5732
2 | 7587.0925 | [7 empty] | 2 | 13648.5925 | -0.70461 | 1 | 13646.9125 | 49.8486 |  | 177.5556
3 | 3007.6317 | [7 empty] | 3 | 13664.54 | 0.26033 | 2 | 13648.5925 | 28.9482 | 307.376 | 135.606
4 | 3734.18 | [7 empty] | 4 | 13670.1025 | 0.5969 | 8 | 13656.615 | 6.9809 | 90.4333 | 13.1225
5 | 8523.0508 | [7 empty] | 5 | 13632.3525 | -1.6872 | 6 | 13658.695 | 22.2986 | 55.1996 | 2.3793
6 | 4246.8992 | [7 empty] | 6 | 13658.695 | -0.093332 | 3 | 13664.54 | 111.6645 | 2.5111 | 18.5115
7 | 4249.4341 | [7 empty] | 7 | 13683.04 | 1.3797 | 4 | 13670.1025 | 260.1654 | 15.8233 | 97.3182
8 | 417.0662 | [7 empty] | 8 | 13656.615 | -0.21919 | 9 | 13681.2875 |  | 229.9122 | 443.1025
9 | 5788.0851 | 0.28389 | 0.481 | 0.403 | OK |  |  |  | 9 | 13681.2875 | 1.2737 | 7 | 13683.04 |  | 286.1293 | 519.954
[9 empty] | mean | 13660.2375 |  | Xp-1,p | 13653.9729 | G_high | 0.43354
[9 empty] | Std.dev | 16.527 |  | X1,2 | 13666.1246 | G_low | 0.45187
[9 empty] | Gmax | 1.3797 | OK
[9 empty] | Gmin | 1.6872 | OK
[9 empty] | CV5% - CV1% |  | 2.215 - 2.387 | CV1% - CV5% |  | 0.085 - 0.149 | OK
|  |  | Tests for outliers |  | ProXR-2404-postpro |  | 4 repetitions per set
| Cochran's test p=8, n=4 |  |  |  |  | Grubbs' test_single observations |  |  | Grubbs' test on set means |  |  | Grubbs' test for 2 outlying means
Set Conjunto | S^2 | C | critical outlier | critical struggler | ? | Repet | Area | G | Set | mean | G | Set | mean | (Xi-(Xp-1,p)) ^2 | Xi-(X1,2) | Xi-(X1,p)
1 | 9883.2513 | [7 empty] | 1 | 13457.4325 | -0.86283 | 2 | 13378.755 | 19632.6136 |  | 32700.4935
2 | 7546.3167 | [7 empty] | 2 | 13378.755 | -1.5274 | 3 | 13428.0675 | 8245.3534 |  | 17297.5835
3 | 4178.1903 | [7 empty] | 3 | 13428.0675 | -1.1108 | 1 | 13457.4325 | 3774.7419 | 21543.5297 | 10435.7008
4 | 545.1786 | [7 empty] | 4 | 13645.76 | 0.72783 | 7 | 13542.97 | 580.7411 | 3750.2939 | 276.1505
5 | 1922.372 | [7 empty] | 5 | 13705 | 1.2282 | 9 | 13561.4875 | 1816.1295 | 1825.1815 | 3.6089
6 | 3236.4578 | [7 empty] | 6 | 13699.19 | 1.1791 | 8 | 13617.6275 | 9752.7616 | 180.0389 | 3368.6094
7 | 4515.2069 | [7 empty] | 7 | 13542.97 | -0.14036 | 4 | 13645.76 | 16100.7096 | 1726.4322 | 7425.6519
8 | 680.7232 | [7 empty] | 8 | 13617.6275 | 0.49022 | 6 | 13699.19 |  | 9021.2682 | 19488.7804
9 | 11488.7833 | 0.26113 | 0.481 | 0.403 | OK |  |  |  | 9 | 13561.4875 | 0.016045 | 5 | 13705 |  | 10158.6961 | 21144.7144
[9 empty] | mean | 13559.5878 |  | Xp-1,p | 13518.8714 | G_high | 0.53417
[9 empty] | Std.dev | 118.3962 |  | X1,2 | 13604.2096 | G_low | 0.42986
[9 empty] | Gmax | 1.2282 | OK
[9 empty] | Gmin | 1.5274 | OK
[9 empty] | CV5% - CV1% |  | 2.215 - 2.387 | CV1% - CV5% |  | 0.085 - 0.149 | OK
|  |  | Tests for outliers |  | ProXR-3401-postpro |  | 4 repetitions per set
| Cochran's test p=8, n=4 |  |  |  |  | Grubbs' test_single observations |  |  | Grubbs' test on set means |  |  | Grubbs' test for 2 outlying means
Set Conjunto | S^2 | C | critical outlier | critical struggler | ? | Repet | Area | G | Set | mean | G | Set | mean | (Xi-(Xp-1,p)) ^2 | Xi-(X1,2) | Xi-(X1,p)
1 | 13233.9623 | [7 empty] | 1 | 13673.2525 | 1.4647 | 2 | 13642.3 | 148.4829 |  | 253.9508
2 | 27322.2714 | [7 empty] | 2 | 13642.3 | -1.5543 | 4 | 13648.615 | 34.4611 |  | 92.5604
3 | 27520.1902 | [7 empty] | 3 | 13649.5025 | -0.85182 | 3 | 13649.5025 | 24.8289 | 153.3705 | 76.2711
4 | 25938.603 | [7 empty] | 4 | 13648.615 | -0.93838 | 9 | 13654.1575 | 0.10749 | 59.7419 | 16.6328
5 | 31778.5759 | [7 empty] | 5 | 13662.9475 | 0.45956 | 6 | 13661.67 | 51.6191 | 0.046996 | 11.7935
6 | 33833.9422 | [7 empty] | 6 | 13661.67 | 0.33496 | 8 | 13662.205 | 59.5929 | 0.10126 | 15.7543
7 | 25699.9111 | [7 empty] | 7 | 13669.4725 | 1.096 | 5 | 13662.9475 | 71.6079 | 1.1251 | 22.1998
8 | 24265.967 | [7 empty] | 8 | 13662.205 | 0.38714 | 7 | 13669.4725 |  | 57.5431 | 126.2627
9 | 34288.0578 | 0.14059 | 0.481 | 0.403 | OK |  |  |  | 9 | 13654.1575 | -0.39779 | 1 | 13673.2525 |  | 129.1795 | 225.5003
[9 empty] | mean | 13658.2358 |  | Xp-1,p | 13654.4854 | G_high | 0.46461
[9 empty] | Std.dev | 10.2526 |  | X1,2 | 13661.8868 | G_low | 0.47698
[9 empty] | Gmax | 1.4647 | OK
[9 empty] | Gmin | 1.5543 | OK
[9 empty] | CV5% - CV1% |  | 2.215 - 2.387 | CV1% - CV5% |  | 0.085 - 0.149 | OK
|  |  | Tests for outliers |  | ProXR-4701-postpro |  | 4 repetitions per set
| Cochran's test p=8, n=4 |  |  |  |  | Grubbs' test_single observations |  |  | Grubbs' test on set means |  |  | Grubbs' test for 2 outlying means
Set Conjunto | S^2 | C | critical outlier | critical struggler | ? | Repet | Area | G | Set | mean | G | Set | mean | (Xi-(Xp-1,p)) ^2 | Xi-(X1,2) | Xi-(X1,p)
1 | 5401.6667 | [7 empty] | 1 | 13676.6975 | 1.8007 | 5 | 13646.5725 | 61.376 |  | 149.5729
2 | 10887.7353 | [7 empty] | 2 | 13648.4825 | -0.9513 | 4 | 13648.2425 | 37.9984 |  | 111.5136
3 | 8486.1738 | [7 empty] | 3 | 13652.1775 | -0.59091 | 2 | 13648.4825 | 35.0972 | 184.3 | 106.5024
4 | 4293.5974 | [7 empty] | 4 | 13648.2425 | -0.97471 | 3 | 13652.1775 | 4.9697 | 97.6285 | 43.8906
5 | 5618.7808 | [7 empty] | 5 | 13646.5725 | -1.1376 | 8 | 13656.005 | 2.5543 | 36.6414 | 7.826
6 | 9847.7714 | [7 empty] | 6 | 13669.7375 | 1.1218 | 9 | 13659.63 | 27.282 | 5.8962 | 0.68476
7 | 1956.3247 | [7 empty] | 7 | 13671.6775 | 1.3111 | 6 | 13669.7375 | 235.0308 | 58.9714 | 119.5742
8 | 1539.974 | [7 empty] | 8 | 13656.005 | -0.21759 | 7 | 13671.6775 |  | 92.5307 | 165.7656
9 | 12510.0483 | 0.20663 | 0.481 | 0.403 | OK |  |  |  | 9 | 13659.63 | 0.13598 | 1 | 13676.6975 |  | 214.3087 | 320.231
[9 empty] | mean | 13658.8025 |  | Xp-1,p | 13654.4068 | G_high | 0.39423
[9 empty] | Std.dev | 11.3223 |  | X1,2 | 13662.0582 | G_low | 0.67307
[9 empty] | Gmax | 1.8007 | OK
[9 empty] | Gmin | 1.1376 | OK
[9 empty] | CV5% - CV1% |  | 2.215 - 2.387 | CV1% - CV5% |  | 0.085 - 0.149 | OK
Approximation of the final buffer
| Differential correction |  | standalone |  |  | postprocessing
| Receiver ID |  | 2404 | 3401 | 4701 | 2404 | 3401 | 4701
| Reference Area (m2) |  | 13651.44 | 13651.44 | 13651.44 | 13651.44 | 13651.44 | 13651.44
| Ref Perimeter (m) |  | 505.79 | 505.79 | 505.79 | 505.79 | 505.79 | 505.79
| ∑v2 |  | 2.11 | 2.69 | 0.66 | 3.49 | 2.87 | 0.73
| n |  | 32 | 36 | 36 | 36 | 36 | 36
| Approx_Buffer |  | 0.71899 | 0.76539 | 0.37912 | 0.87181 | 0.79058 | 0.39872
[7 empty] | Mean | 0.6541
[7 empty] | Std.dev | 0.2114
Testing the bias- Student Test
| Parcel |  | Reference Area (m2) |  | 13651.44 | Ref Perimeter (m) |  | 505.79
ProXR-2404-stand |  |  |  |  | ProXR-3401-stand |  |  |  |  | ProXR-4701-stand
Set | mean |  |  |  | Set | mean |  |  |  | Set | mean
1 | 13423.0525 | mean |  | 13580.6772 | 1 | 13644.7275 | mean |  | 13658.6703 | 1 | 13646.9125 | mean |  | 13660.2375
2 |  | Std.dev |  | 106.8731 | 2 | 13645.22 | Std.dev |  | 12.9555 | 2 | 13648.5925 | Std.dev |  | 16.527
3 | 13430.0275 | Area_ref |  | 13651.44 | 3 | 13657.4275 | Area_ref |  | 13651.44 | 3 | 13664.54 | Area_ref |  | 13651.44
4 | 13668.0175 | T |  | -1.8728 | 4 | 13669.6925 | T |  | 1.6743 | 4 | 13670.1025 | T |  | 1.5969
5 | 13695.98 |  |  |  | 5 | 13654.3025 |  |  |  | 5 | 13632.3525
6 | 13681.755 | CV5% |  | 2.365 | 6 | 13648.985 | CV5% |  | 2.306 | 6 | 13658.695 | CV5% |  | 2.306
7 | 13560.85 |  |  |  | 7 | 13680.3125 |  |  |  | 7 | 13683.04
8 | 13609.9275 |  |  |  | 8 | 13653.365 |  |  |  | 8 | 13656.615
9 | 13575.8075 | OK |  |  | 9 | 13674 | OK |  |  | 9 | 13681.2875 | OK
Descriptive statistics (without outliers)
ProXR-2404-postpro |  |  |  |  | ProXR-3401-postpro |  |  |  |  | ProXR-4701-postpro | [5 empty] | Mode = Stand, Variable = Area
Set | mean |  |  |  | Set | mean |  |  |  | Set | mean |  |  |  | Receiver | Set | Mean | (Mean)^2 | Std.dev | (Std.dev)^2 | N | N-1
1 | 13457.4325 | mean |  | 13559.5878 | 1 | 13673.2525 | mean |  | 13658.2358 | 1 | 13676.6975 | mean |  | 13658.8025 | ProXR-2404 | 1 | 13423.0525 | 180178338.4178 | 16.7664 | 281.1112 | 4 | 3
2 | 13378.755 | Std.dev |  | 118.3962 | 2 | 13642.3 | Std.dev |  | 10.2526 | 2 | 13648.4825 | Std.dev |  | 11.3223
3 | 13428.0675 | Area_ref |  | 13651.44 | 3 | 13649.5025 | Area_ref |  | 13651.44 | 3 | 13652.1775 | Area_ref |  | 13651.44 |  | 3 | 13430.0275 | 180365638.6508 | 24.9631 | 623.1573 | 4 | 3
4 | 13645.76 | T |  | -2.3274 | 4 | 13648.615 | T |  | 1.9885 | 4 | 13648.2425 | T |  | 1.9508 |  | 4 | 13668.0175 | 186814702.3803 | 26.0503 | 678.6187 | 4 | 3
5 | 13705 |  |  |  | 5 | 13662.9475 |  |  |  | 5 | 13646.5725 |  |  |  |  | 5 | 13695.98 | 187579868.1604 | 65.9894 | 4354.6006 | 4 | 3
6 | 13699.19 | CV5% |  | 2.306 | 6 | 13661.67 | CV5% |  | 2.306 | 6 | 13669.7375 | CV5% |  | 2.306 |  | 6 | 13681.755 | 187190419.88 | 40.8176 | 1666.0732 | 4 | 3
7 | 13542.97 | CV 1% |  | 3.356 | 7 | 13669.4725 |  |  |  | 7 | 13671.6775 |  |  |  |  | 7 | 13560.85 | 183896652.7225 | 79.4592 | 6313.7575 | 4 | 3
8 | 13617.6275 | straggler- OK |  |  | 8 | 13662.205 |  |  |  | 8 | 13656.005 |  |  |  |  | 8 | 13609.9275 | 185230126.5553 | 3.2427 | 10.5153 | 4 | 3
9 | 13561.4875 |  |  |  | 9 | 13654.1575 | OK |  |  | 9 | 13659.63 | OK |  |  |  | 9 | 13575.8075 | 184302549.2771 | 61.4434 | 3775.2891 | 4 | 3
[16 empty] | Total |  |  |  |  | 32
Compute reproducibility standard deviation: SR , Reproducibility Limit R & derive tecnical tolerance | [12 empty] | Border | Good | ProXR-3401 | 1 | 13644.7275 | 186178588.5493 | 166.1191 | 27595.5665 | 4 | 3
[16 empty] | 2 | 13645.22 | 186192028.8484 | 146.0596 | 21333.4087 | 4 | 3
| Mode | Receiver | T1 | T2 | T3 | T4 | T5 | (Sr)^2 | (SL)^2 | (SR)^2 | R | R/ ref Perimeter | Buffer width, m |  |  | 3 | 13657.4275 | 186525325.9178 | 119.9774 | 14394.5836 | 4 | 3
| stand | ProXR-2404 | 434581.67 | 5902233184.1762 | 32 | 128 | 53109.3685 | 2212.8904 | 10868.6453 | 13081.5357 | 320.2487 | 0.63317 | 0.75 |  |  | 4 | 13669.6925 | 186860493.0446 | 158.7207 | 25192.2466 | 4 | 3
| stand | ProXR-3401 | 491712.13 | 6716139226.2903 | 36 | 144 | 684681.3116 | 25358.5671 | -6171.7969 | 25358.5671 | 445.8825 | 0.88156 | 1 |  |  | 5 | 13654.3025 | 186439976.7615 | 192.7403 | 37148.8194 | 4 | 3
| stand | ProXR-4701 | 491768.55 | 6717683928.5223 | 36 | 144 | 157322.1384 | 5826.7459 | -1183.5461 | 5826.7459 | 213.7327 | 0.42257 | 0.5 |  |  | 6 | 13648.985 | 186294791.5302 | 157.6338 | 24848.4161 | 4 | 3
| postpro | ProXR-2404 | 488145.16 | 6619495710.4906 | 36 | 144 | 131989.4402 | 4888.4978 | 12795.5372 | 17684.035 | 372.3477 | 0.73617 | 0.75 |  |  | 7 | 13680.3125 | 187150950.0977 | 174.8645 | 30577.5805 | 4 | 3
| postpro | ProXR-3401 | 491696.49 | 6715709982.5449 | 36 | 144 | 731644.4424 | 27097.9423 | -6669.3699 | 27097.9423 | 460.9207 | 0.91129 | 1 |  |  | 8 | 13653.365 | 186414375.8232 | 148.6423 | 22094.5295 | 4 | 3
| postpro | ProXR-4701 | 491716.89 | 6716267988.6689 | 36 | 144 | 181626.217 | 6726.8969 | -1553.5291 | 6726.8969 | 229.6495 | 0.45404 | 0.5 |  |  | 9 | 13674 | 186978276 | 158.2465 | 25041.953 | 4 | 3
[7 empty] | Proposed Tecnical Tolerance (m) = |  |  | 0.75 | Mean | 0.67313 |  |  |  | Total |  |  |  |  | 36
[11 empty] | Std.dev | 0.20809 |  |  | ProXR-4701 | 1 | 13646.9125 | 186238220.7827 | 122.0134 | 14887.2733 | 4 | 3
[16 empty] | 2 | 13648.5925 | 186284077.2311 | 87.1039 | 7587.0925 | 4 | 3
[16 empty] | 3 | 13664.54 | 186719653.4116 | 54.8419 | 3007.6317 | 4 | 3
[16 empty] | 4 | 13670.1025 | 186871702.3605 | 61.1079 | 3734.18 | 4 | 3
[16 empty] | 5 | 13632.3525 | 185841034.6843 | 92.3204 | 8523.0508 | 4 | 3
[16 empty] | 6 | 13658.695 | 186559949.103 | 65.1682 | 4246.8992 | 4 | 3
[16 empty] | 7 | 13683.04 | 187225583.6416 | 65.1877 | 4249.4341 | 4 | 3
[16 empty] | 8 | 13656.615 | 186503133.2582 | 20.4222 | 417.0662 | 4 | 3
[16 empty] | 9 | 13681.2875 | 187177627.6577 | 76.0795 | 5788.0851 | 4 | 3
[16 empty] | Total |  |  |  |  | 36
Mode = Postpro, Variable = Area
[15 empty] | ProXR-2404 | 1 | 13457.4325 | 181102489.4921 | 99.4145 | 9883.2513 | 4 | 3
[16 empty] | 2 | 13378.755 | 178991085.35 | 86.8695 | 7546.3167 | 4 | 3
[16 empty] | 3 | 13428.0675 | 180312996.7846 | 64.6389 | 4178.1903 | 4 | 3
[16 empty] | 4 | 13645.76 | 186206765.9776 | 23.3491 | 545.1786 | 4 | 3
[16 empty] | 5 | 13705 | 187827025 | 43.8449 | 1922.372 | 4 | 3
[16 empty] | 6 | 13699.19 | 187667806.6561 | 56.8899 | 3236.4578 | 4 | 3
[16 empty] | 7 | 13542.97 | 183412036.4209 | 67.1953 | 4515.2069 | 4 | 3
[16 empty] | 8 | 13617.6275 | 185439778.7288 | 26.0907 | 680.7232 | 4 | 3
[16 empty] | 9 | 13561.4875 | 183913943.2127 | 107.1857 | 11488.7833 | 4 | 3
[16 empty] | Total |  |  |  |  | 36
[15 empty] | ProXR-3401 | 1 | 13673.2525 | 186957833.9288 | 115.039 | 13233.9623 | 4 | 3
[16 empty] | 2 | 13642.3 | 186112349.29 | 165.2945 | 27322.2714 | 4 | 3
[16 empty] | 3 | 13649.5025 | 186308918.4975 | 165.8921 | 27520.1902 | 4 | 3
[16 empty] | 4 | 13648.615 | 186284691.4182 | 161.0547 | 25938.603 | 4 | 3
[16 empty] | 5 | 13662.9475 | 186676134.3878 | 178.2655 | 31778.5759 | 4 | 3
[16 empty] | 6 | 13661.67 | 186641227.1889 | 183.9401 | 33833.9422 | 4 | 3
[16 empty] | 7 | 13669.4725 | 186854478.4283 | 160.3119 | 25699.9111 | 4 | 3
[16 empty] | 8 | 13662.205 | 186655845.462 | 155.7754 | 24265.967 | 4 | 3
[16 empty] | 9 | 13654.1575 | 186436017.0348 | 185.1703 | 34288.0578 | 4 | 3
[16 empty] | Total |  |  |  |  | 36
[15 empty] | ProXR-4701 | 1 | 13676.6975 | 187052054.5065 | 73.496 | 5401.6667 | 4 | 3
[16 empty] | 2 | 13648.4825 | 186281074.5528 | 104.3443 | 10887.7353 | 4 | 3
[16 empty] | 3 | 13652.1775 | 186381950.4915 | 92.1204 | 8486.1738 | 4 | 3
[16 empty] | 4 | 13648.2425 | 186274523.3388 | 65.5255 | 4293.5974 | 4 | 3
[16 empty] | 5 | 13646.5725 | 186228940.9978 | 74.9585 | 5618.7808 | 4 | 3
[16 empty] | 6 | 13669.7375 | 186861723.3189 | 99.2359 | 9847.7714 | 4 | 3
[16 empty] | 7 | 13671.6775 | 186914765.664 | 44.2304 | 1956.3247 | 4 | 3
[16 empty] | 8 | 13656.005 | 186486472.56 | 39.2425 | 1539.974 | 4 | 3
[16 empty] | 9 | 13659.63 | 186585491.7369 | 111.8483 | 12510.0483 | 4 | 3
[16 empty] | Total |  |  |  |  | 36